## README
PIC Lite — Complete Analysis Pack (official format)
------------------------------------------------------------
WHAT MUST BE PRESENT FOR ALL FAULTS TO RUN
----------------------------------------
1. Timestamp on every SCADA row (plant local time or UTC — declare timezone in Setup).
2. Equipment ID hierarchy: INV-xx / INV-xx-SCB-xx / INV-xx-SCB-xx-STR-xx (or map columns).
3. Signals (units matter):
• AC Power (kW) → KPIs, clipping-by-power, efficiency, box plot
• DC Power (kW) OR DC Current (A) → efficiency / box plot
• DC Current (A) → clipping-by-current, disconnected strings, string outlier
• DC Voltage (V) → module damage
• POA or GHI (W/m²) → clipping (power & current), disconnected strings
4. Architecture sheet (this pack) — Plant → Inverter → SCB → String + nameplate capacities.
Uploading this workbook auto-imports architecture into Setup (you can still override).
ARCHITECTURE SHEET (hierarchy)
----------------------------------------
Columns: id ¦ parent_id ¦ device_type ¦ ac_capacity_kw ¦ dc_capacity_kwp ¦ strings_per_scb ¦ notes
device_type: plant ¦ inverter ¦ scb ¦ string (smb/combiner aliases → scb)
Units: AC capacity in kW · DC capacity in kWp (plant totals convert to MW/MWp in Setup).
Why: faults normalize losses against nameplate capacity at the right hierarchy level
without re-entering architecture later.
PER-FAULT CHECKLIST
----------------------------------------
KPIs : AC Power (kW)
Clipping by power : AC Power + POA/GHI + inverter ratings
Efficiency (fault) / box plot (diagnostic, not a fault): AC Power + (DC Power OR DC Current)
Clipping by current : DC Current + POA/GHI + architecture
Disconnected strings : DC Current + POA/GHI + architecture
Module damage : DC Voltage + architecture
String outlier : DC Current
HOW TO UPLOAD
----------------------------------------
Accurate path (this pack):
A) Excel: upload pic_lite_complete_analysis_pack.xlsx — PIC Lite reads the 'scada'
sheet for telemetry and auto-imports the 'architecture' sheet into Setup.
B) ZIP / CSV: upload 01_scada_long.csv; architecture from 02_architecture.xlsx is
imported when you upload that file with the pack, or via Setup → Method A.
Flexible path (messy real SCADA): keep uploading multiple OEM files;
fuzzy column mapping still works. This pack is the official clear path.
UNITS — always use these (not MW / kA on SCADA rows):
Power kW · Current A · Voltage V · Irradiance W/m² · Temperature °C
Architecture capacities: AC kW · DC kWp (plant MW/MWp = kW/1000)
See docs/COMPLETE_DATA_FORMAT.md in the repo for the full specification.

## scada
Timestamp | Equipment ID | AC Power (kW) | DC Power (kW) | DC Current (A) | DC Voltage (V) | Irradiance (W/m2) | GHI (W/m2) | Module Temp (C) | Ambient Temp (C)
2026-03-15 08:00:00 | PLANT-WMS-01 |  |  |  |  | 350 | 339.5 | 30.9 | 22.2
2026-03-15 08:00:00 | INV-01-SCB-01-STR-01 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-01-SCB-01-STR-02 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-01-SCB-01 |  | 4.34 | 7 | 620
2026-03-15 08:00:00 | INV-01-SCB-02-STR-01 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-01-SCB-02-STR-02 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-01-SCB-02 |  | 4.34 | 7 | 620
2026-03-15 08:00:00 | INV-01 | 8.506 | 8.68
2026-03-15 08:00:00 | INV-02-SCB-01-STR-01 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-02-SCB-01-STR-02 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-02-SCB-01 |  | 4.34 | 7 | 620
2026-03-15 08:00:00 | INV-02-SCB-02-STR-01 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-02-SCB-02-STR-02 |  | 2.17 | 3.5 | 620
2026-03-15 08:00:00 | INV-02-SCB-02 |  | 4.34 | 7 | 620
2026-03-15 08:00:00 | INV-02 | 8.506 | 8.68
2026-03-15 08:15:00 | PLANT-WMS-01 |  |  |  |  | 393.8 | 382 | 32.5 | 22.7
2026-03-15 08:15:00 | INV-01-SCB-01-STR-01 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-01-SCB-01-STR-02 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-01-SCB-01 |  | 4.883 | 7.876 | 620
2026-03-15 08:15:00 | INV-01-SCB-02-STR-01 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-01-SCB-02-STR-02 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-01-SCB-02 |  | 4.883 | 7.876 | 620
2026-03-15 08:15:00 | INV-01 | 9.571 | 9.766
2026-03-15 08:15:00 | INV-02-SCB-01-STR-01 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-02-SCB-01-STR-02 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-02-SCB-01 |  | 4.883 | 7.876 | 620
2026-03-15 08:15:00 | INV-02-SCB-02-STR-01 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-02-SCB-02-STR-02 |  | 2.4416 | 3.938 | 620
2026-03-15 08:15:00 | INV-02-SCB-02 |  | 4.883 | 7.876 | 620
2026-03-15 08:15:00 | INV-02 | 9.571 | 9.766
2026-03-15 08:30:00 | PLANT-WMS-01 |  |  |  |  | 437.5 | 424.4 | 34.1 | 23.2
2026-03-15 08:30:00 | INV-01-SCB-01-STR-01 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-01-SCB-01-STR-02 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-01-SCB-01 |  | 5.425 | 8.75 | 620
2026-03-15 08:30:00 | INV-01-SCB-02-STR-01 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-01-SCB-02-STR-02 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-01-SCB-02 |  | 5.425 | 8.75 | 620
2026-03-15 08:30:00 | INV-01 | 10.633 | 10.85
2026-03-15 08:30:00 | INV-02-SCB-01-STR-01 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-02-SCB-01-STR-02 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-02-SCB-01 |  | 5.425 | 8.75 | 620
2026-03-15 08:30:00 | INV-02-SCB-02-STR-01 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-02-SCB-02-STR-02 |  | 2.7125 | 4.375 | 620
2026-03-15 08:30:00 | INV-02-SCB-02 |  | 5.425 | 8.75 | 620
2026-03-15 08:30:00 | INV-02 | 10.633 | 10.85
2026-03-15 08:45:00 | PLANT-WMS-01 |  |  |  |  | 481.2 | 466.8 | 35.8 | 23.8
2026-03-15 08:45:00 | INV-01-SCB-01-STR-01 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-01-SCB-01-STR-02 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-01-SCB-01 |  | 5.967 | 9.624 | 620
2026-03-15 08:45:00 | INV-01-SCB-02-STR-01 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-01-SCB-02-STR-02 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-01-SCB-02 |  | 5.967 | 9.624 | 620
2026-03-15 08:45:00 | INV-01 | 11.695 | 11.934
2026-03-15 08:45:00 | INV-02-SCB-01-STR-01 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-02-SCB-01-STR-02 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-02-SCB-01 |  | 5.967 | 9.624 | 620
2026-03-15 08:45:00 | INV-02-SCB-02-STR-01 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-02-SCB-02-STR-02 |  | 2.9834 | 4.812 | 620
2026-03-15 08:45:00 | INV-02-SCB-02 |  | 5.967 | 9.624 | 620
2026-03-15 08:45:00 | INV-02 | 11.695 | 11.934
2026-03-15 09:00:00 | PLANT-WMS-01 |  |  |  |  | 525 | 509.2 | 37.4 | 24.3
2026-03-15 09:00:00 | INV-01-SCB-01-STR-01 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-01-SCB-01-STR-02 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-01-SCB-01 |  | 6.51 | 10.5 | 620
2026-03-15 09:00:00 | INV-01-SCB-02-STR-01 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-01-SCB-02-STR-02 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-01-SCB-02 |  | 6.51 | 10.5 | 620
2026-03-15 09:00:00 | INV-01 | 12.76 | 13.02
2026-03-15 09:00:00 | INV-02-SCB-01-STR-01 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-02-SCB-01-STR-02 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-02-SCB-01 |  | 6.51 | 10.5 | 620
2026-03-15 09:00:00 | INV-02-SCB-02-STR-01 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-02-SCB-02-STR-02 |  | 3.255 | 5.25 | 620
2026-03-15 09:00:00 | INV-02-SCB-02 |  | 6.51 | 10.5 | 620
2026-03-15 09:00:00 | INV-02 | 12.76 | 13.02
2026-03-15 09:15:00 | PLANT-WMS-01 |  |  |  |  | 568.8 | 551.7 | 39 | 24.8
2026-03-15 09:15:00 | INV-01-SCB-01-STR-01 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-01-SCB-01-STR-02 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-01-SCB-01 |  | 7.053 | 11.376 | 620
2026-03-15 09:15:00 | INV-01-SCB-02-STR-01 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-01-SCB-02-STR-02 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-01-SCB-02 |  | 7.053 | 11.376 | 620
2026-03-15 09:15:00 | INV-01 | 13.824 | 14.106
2026-03-15 09:15:00 | INV-02-SCB-01-STR-01 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-02-SCB-01-STR-02 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-02-SCB-01 |  | 7.053 | 11.376 | 620
2026-03-15 09:15:00 | INV-02-SCB-02-STR-01 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-02-SCB-02-STR-02 |  | 3.5266 | 5.688 | 620
2026-03-15 09:15:00 | INV-02-SCB-02 |  | 7.053 | 11.376 | 620
2026-03-15 09:15:00 | INV-02 | 13.824 | 14.106
2026-03-15 09:30:00 | PLANT-WMS-01 |  |  |  |  | 612.5 | 594.1 | 40.7 | 25.4
2026-03-15 09:30:00 | INV-01-SCB-01-STR-01 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-01-SCB-01-STR-02 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-01-SCB-01 |  | 7.595 | 12.25 | 620
2026-03-15 09:30:00 | INV-01-SCB-02-STR-01 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-01-SCB-02-STR-02 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-01-SCB-02 |  | 7.595 | 12.25 | 620
2026-03-15 09:30:00 | INV-01 | 14.886 | 15.19
2026-03-15 09:30:00 | INV-02-SCB-01-STR-01 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-02-SCB-01-STR-02 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-02-SCB-01 |  | 7.595 | 12.25 | 620
2026-03-15 09:30:00 | INV-02-SCB-02-STR-01 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-02-SCB-02-STR-02 |  | 3.7975 | 6.125 | 620
2026-03-15 09:30:00 | INV-02-SCB-02 |  | 7.595 | 12.25 | 620
2026-03-15 09:30:00 | INV-02 | 14.886 | 15.19
2026-03-15 09:45:00 | PLANT-WMS-01 |  |  |  |  | 656.2 | 636.5 | 42.3 | 25.9
2026-03-15 09:45:00 | INV-01-SCB-01-STR-01 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-01-SCB-01-STR-02 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-01-SCB-01 |  | 8.137 | 13.124 | 620
2026-03-15 09:45:00 | INV-01-SCB-02-STR-01 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-01-SCB-02-STR-02 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-01-SCB-02 |  | 8.137 | 13.124 | 620
2026-03-15 09:45:00 | INV-01 | 15.949 | 16.274
2026-03-15 09:45:00 | INV-02-SCB-01-STR-01 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-02-SCB-01-STR-02 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-02-SCB-01 |  | 8.137 | 13.124 | 620
2026-03-15 09:45:00 | INV-02-SCB-02-STR-01 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-02-SCB-02-STR-02 |  | 4.0684 | 6.562 | 620
2026-03-15 09:45:00 | INV-02-SCB-02 |  | 8.137 | 13.124 | 620
2026-03-15 09:45:00 | INV-02 | 15.949 | 16.274

## architecture
id | parent_id | device_type | ac_capacity_kw | dc_capacity_kwp | strings_per_scb | notes
PLANT |  | plant | 180 | 216 |  | Sample Plant (Complete Analysis Pack)
INV-01 | PLANT | inverter | 90 | 108 |  | Example — replace with your plant IDs
INV-01-SCB-01 | INV-01 | scb |  | 54 | 2
INV-01-SCB-01-STR-01 | INV-01-SCB-01 | string |  | 27
INV-01-SCB-01-STR-02 | INV-01-SCB-01 | string |  | 27
INV-01-SCB-02 | INV-01 | scb |  | 54 | 2
INV-01-SCB-02-STR-01 | INV-01-SCB-02 | string |  | 27
INV-01-SCB-02-STR-02 | INV-01-SCB-02 | string |  | 27
INV-02 | PLANT | inverter | 90 | 108
INV-02-SCB-01 | INV-02 | scb |  | 54 | 2
INV-02-SCB-01-STR-01 | INV-02-SCB-01 | string |  | 27
INV-02-SCB-01-STR-02 | INV-02-SCB-01 | string |  | 27
INV-02-SCB-02 | INV-02 | scb |  | 54 | 2
INV-02-SCB-02-STR-01 | INV-02-SCB-02 | string |  | 27
INV-02-SCB-02-STR-02 | INV-02-SCB-02 | string |  | 27

## fault_checklist
Fault / module | Required SCADA columns | Required Setup config
Plant KPIs | AC Power (kW) | —
Clipping by power (fault) | AC Power (kW) + Irradiance/POA or GHI (W/m2) | Inverter AC ratings (architecture)
Inverter efficiency (fault) | AC Power (kW) + DC Power (kW) OR DC Current (A) | —
Box plot analysis (diagnostic — not a fault) | AC Power (kW) + DC Power (kW) OR DC Current (A) | —
Clipping by current (fault) | DC Current (A) + Irradiance/POA or GHI | Architecture hierarchy + strings_per_scb
Disconnected strings (fault) | DC Current (A) + Irradiance/POA or GHI | Architecture hierarchy
Module damage (fault) | DC Voltage (V) | Architecture hierarchy
String outlier (fault) | DC Current (A) | —
Loss normalization | — | Plant/inverter/SCB DC (kWp) + AC (kW) capacities